## Cover Page
PLAN INTERNATIONAL ETHIOPIA
Lot-1: Hydraulic Works-One
Narrative- BoQ and Specification for conducting Solar Powered WaterSupply System- Hydraulic Works-One: Construction of Trans (PMP) Main from BH- to Elevated Service Reservoir, Distribution line from Service Reservoir to service points, and construction of water taps for Solar Water Supply Projects
Location- Gambella Region @ Okuna-Pino (Abobo), Camp (Gog), Elbaro (Gambela Zurya), & Alela (Gambela Zurya) Solar Water Supply Projects
Project- Sun WASH II
Donor- Poul Due Jensens Fond ( PDJF)
Client- Plan International Ethiopia (PIE)
January, 2025
Adis Ababa, Ethiopia

## Grand Smry-1
Lot-1: Hydraulic Works One- Construction of Trans (PMP) Main from BH- to Elevated Service Reservoir, Distribution line from Service Reservoir to service points, and construction of water taps
Grand Summary for All Hydraulic Works in villages of Okuna-Pino (Abobo), Camp (Gog), Elbaro (Gambela Zurya), & Alela (Gambela Zurya) Solar Water Supply Project
Bill No | Description | Amount (Birr)
1 | Hydraulic Works of Alela Village Solar Water Supply Project | 0
2 | Hydraulic Works of Camp Village Solar Water Supply Project | 0
3 | Hydraulic Works of Elbaro Village Solar Water Supply Project | 0
4 | Hydraulic Works of Okuna-Pino Village Solar Water Supply Project | 0
| Sub Total | 0
| Rebate (___%) | 0
| Grand Total | 0

## Sumry-1.1
1) Lot-1: Hydraulic Works One-Alela
Summary of Okuna Pino Kebele SPWPS Water Supply Project
Bill No | Description | Amount (Birr)
1 | General Item | 0
2 | Construction of Trans(PMP) Main from BH-Tegni to Elevated Service Reservior and Construction of distribution line from Service Reservior to service points | 0
3 | Construction of four faucets water points | 0
| Grand Total | 0

## 1.1.1-General Item Block
A. Specification and Bill of Quantity (BoQ) for General Work
ITEM | DESCRIPTION | UNIT | QTY | UNIT RATE (Birr) | AMOUNT (Birr)
1 | General item
1.1 | Mobilization of plant, equipment and personnel to the site of the work | Ls | 1 | 0 | 0
1.2 | Demobilization of plant, equipment and personnel from the site. | Ls | 1 | 0 | 0
1.3 | The Contractor shall establish offices, catering and other facilities for personel Services | Ls | 1 | 0 | 0 | 250000 | Not necessary
1.4 | Provide, maintain and keep in a clean condition adequate temporary sanitary accommodation and facilities in accordance with local regulations for all persons employed on the Works | LS | 1 | 0 | 0
1.5 | Provision of surveying equipment with surveying team. The equipment to be used shall be appropriate to the work and as per the instruction of the Engineer and Provide survey control and setting out work for constrruction. | LS | 1 | 0 | 0
1.6 | Provide operation and maintenance data manuals for each item of works | LS | 1 | 0 | 0
1.7 | Test for Concrete and related construction materials | LS | 1 | 0 | 0
1.8 | Provide As-built drawings as specified | Set 3 | 1 | 0 | 0
Sub Total for General Item |  |  |  |  | 0
VAT (15%) |  |  |  |  | 0
Sub-Total |  |  |  |  | 0

## 1.1.2-Pipe line construction
Project Name : Alela WSP
Bill No. 1 For Supply,Transportation and Installation of pipe and its necessary Fittings Alela RPS
Item No. | Item Description | Unit | Quantity | Unit Price | Amount
1 | Earth Work
1.1 | Site Clearing, along Pipe route to a max width of 2m of all bushes and trees including grubbing of roots of stumps and removing from site | m2 | 2349.9 | 0 | 0
1.2 | Excavation for trench in ordinary soil 1 m deep & 0.8m width for installation of pipe, including disposal of surplus excavated material | M3 | 939.96 | 0 | 0
1.3 | Excavation for soft rock formation | M3 | 7.56 | 0 | 0
1.5 | Backfilling and compacting the trench initially native selective material to the thickness not less than 15cm around the pipe and with heap above the original ground level with selected native soil | M3 | 1174.95 | 0 | 0
| Total carried to summary (1)…................................... |  |  |  | 0
2 | Supply of Pipes and fittings
2.1 | Supply and Laying of HDPE pipe PN 10(for Distribution Main)
2.1.1 | Supply HDPE Pipe with PN 10 and in 100m length each
2.1.1.1 | OD 50mm, PN10 | m | 1164.45 | 0 | 0
| Total carried to summary (2)…................................... |  |  |  | 0
2.1.2 | Supply and Installation of Riquired Fitting
2.1.2.1 | HDPE Compression Equal Tee OD 50X50X50 PN10 | Pcs | 5 | 0 | 0
2.1.2.2 | HDPE Male Adoptor OD 50 PN 10 | Pcs | 20 | 0 | 0
2.1.2.3 | Internal Traded Gate valve DN 40 PN 10 | Pcs | 10 | 0 | 0
| Total carried to summary (3)…................................... |  |  |  | 0
2.2 | Supply of Galvanized Iron pipe and its fittings For Transmission line
2.2.1 | Class B Galvanized Iron pipe DN 50 | m | 22 | 0 | 0
2.2.2 | Supply and installation of fitting for pressure line |  |  | 0
2.2.2.1 | Internal Traded Flange DN 50 | Pcs | 3 | 0 | 0
2.2.2.2 | Double Flanged GS pipe DN 50 and Length 1m | Pcs | 2 | 0 | 0
2.2.2.3 | Double Flanged GS pipe DN 50 and Length 2m | Pcs | 1 | 0 | 0
2.2.2.4 | 90 Degree CI flanged Elbow PN 10 DN 50 | Pcs | 3 | 0 | 0
2.2.2.5 | single orfice Air release valve DN 50 PN 10 | Pcs | 1 | 0 | 0
2.2.2.6 | Flanged Check Valve DN 50 PN 10 | Pcs | 1 | 0 | 0
2.2.2.7 | Flanged Water meter DN 50 PN 10 | Pcs | 1 | 0 | 0
2.2.2.7 | Flanged Gate Valve DN 50 PN 10 | Pcs | 1 | 0 | 0
3 | Construction of concrete Anchor block as per the drawing | Pcs | 2 | 0 | 0
4 | Construction of Masonry Valve chamber having thickness of 40cm and internal dimension of 1mx1mx0.75m and sheet metal cover fixed on angle iron frame with all locking apparatus | No | 5 | 0 | 0
5 | All Pipeline pressure testing for specified pressure as in specification and commissioning for the whole work, including all necessary works such as transportation and use of water, pipe fittings, disposing of used water | m | 1174.95 | 0 | 0
6 | Disinfection of all Pipe lines: flushing with clear water, filling with water containing 0.15 g/l calcium hypochloride, left for 24 hours. This includes supply of all necessary equipment, chemical and water | m | 1174.95 | 0 | 0
| Total carried to summary (4)…................................... |  |  |  | 0
| Sub Total (1)+(2)+(3)+(4) |  |  |  | 0
| VAT 15% |  |  |  | 0
| Sub Total for Water Points |  |  |  | 0

## 1.1.3-Water Point
Specification and Bill of Quantity (BoQ) for water points with four fuacet
Item No. | Description | Unit | Quantity | Unit Price | Total Price
1 | Earth work
1.1 | Clearing and striping of top soil to a minimum depth of 200 mm | m2 | 24.2 | 0 | 0
1.2 | Bulk excavation for up to a depth of 50 cm below site clearing for foundation | m3 | 6.8 | 0 | 0
1.3 | Excavation for foundation, soak away pit and valve chamber | m3 | 5.4 | 0 | 0
1.4 | Fill and compact selected material in layers of 150mm, for foundation | m3 | 0.27 | 0 | 0
1.5 | Fill 20 cm thick hard core with hard basaltic or equivalent stone, well compacted and blinded with crushed stone , | m2 | 10.24 | 0 | 0
1.6 | Cart away and dispose all excavated material to appropriate distance | m3 | 17.04 | 0 | 0
| Total carried to summary…............................... |  |  |  | 0
2 | Concrete Work
2.1 | C-5 lean concrete | m2 | 0.65 | 0 | 0 | C-5 is enough
2.2 | C-20 concrete mass concrete | m2 | 3.16 | 0 | 0
2.3 | C-25 Concrete cylinder (Dia 1m and hight 1m) | m3 | 1 | 0 | 0
2.4 | C-25 Concrete cylinder (Dia 30cm and hight 1m) | m3 | 0.07065 | 0 | 0
| Total carried to summary…............................... |  |  |  | 0
3 | Masonery and Plastering Work
3.1 | Construct 400mm thick trychytic masonry wall circular grouted and filled with (1:3) mortar for foundation and super structure | m3 | 3 | 0 | 0
3.2 | Plastering to smooth finish for waterpoint wall and surface | m2 | 15 | 0 | 0
3.3 | Concrete pavement around the water point as per the drawing (200 mm thick with 1:3 mortar) | m2 | 7.6 | 0 | 0
| Total carried to summary…............................... |  |  |  | 0
4 | Pipework |  |  |  | 0
4.1 | Install GI pipes |  |  |  | 0
4.1.1 | GI pipe 1.5'' | ml | 6 | 0 | 0
4.1.2 | GI Pipe 3/4'' | ml | 6 | 0 | 0
4.2 | Fix fittings |  |  | 0 | 0
4.2.1 | Cross tee 1.5'' | Pcs | 1 | 0 | 0
4.2.2 | Reducer 1.5''-3/4'' | Pcs | 4 | 0 | 0
4.2.3 | Tee 1.5'' | Pcs | 1 | 0 | 0
4.2.4 | 1.5'' Bend (elbow) 90 degree | Pcs | 5 | 0 | 0
4.2.5 | Faucet 3/4'' | Pcs | 4 | 0 | 0
4.2.6 | Socket 3/4'' | Pcs | 4 | 0 | 0
4.2.7 | Gate valve 1.5'' | Pcs | 2 | 0 | 0
4.2.8 | Union 1.5'' (variable) | Pcs | 1 | 0 | 0
4.2.9 | Nipples 1.5'' | Pcs | 6 | 0 | 0
4.2.10 | Female daptor OD 50mm | Pcs | 1 | 0 | 0
| Total carried to summary…............................... |  |  |  | 0
5 | Finishing Work |  |  |  | 0
5.1 | Construct two valve chambers for water meter and gate valve , cover with concrete slab as per the drawing | No. | 2 | 0 | 0
5.2 | Place boulders, crashed agregate and sand to form the soak away as per the drawing | m3 | 0.32 | 0 | 0
5.3 | Construct barbed wire fencing fixed to 2 m long angle iron poles spaced every 1.25 m and breaced barbed wire horizeontally 20 cm spacing and diagonally including fixing of RHS metal door and incidental works as per the drawing | ml | 25 | 0 | 0
| Total carried to summary…............................... |  |  |  | 0
| Total (1+2+3+4+5)for one water points |  |  |  | 0
| Total for five water points |  |  |  | 0
| VAT 15% |  |  |  | 0
| Sub Total for Water Points |  |  |  | 0

## 4-Pipeline installation Ukuna P (hidden)
D. Specification and Bill of Quantity (BoQ) for Pipe Expansion/ Laying Work
Item No. | Description | Unit | Amount | Unit Price (Birr) | Total Price (Birr)
1 | Excavation & Earth Work
1.1 | Route selection, surveying and site clearing work
1.2 | Trench excavation to a depth of 100cm and width of 60 cm
1.2.1 | Native soil formation with dpeth of 20cm and width of 60cm) | m3 | 211.2 | 530 | 111936
1.2.2 | Soft rock formation (upt ot 20cm depth and 20 cm width) | m3 | 211.2 | 938 | 198105.6
1.2.3 | Hard rock formation with depth of 60cm and 60 cm width) | m3 | 633.6 | 1288 | 816076.8
1.3 | Back fill above the pipe crown with excavated materials from the site | m3 | 1056 | 615 | 649440
1.4 | 15cm pipe bedding around the pipe with selected material approved by site enginner | m3 | 52.8 | 575 | 30360
1.5 | Construct valve chamber with 40cm thick masonry and internal dimension of 100*100*50cm | No | 7 | 18655 | 130585
1.6 | Construct anchor/thrust block | No | 2 | 2500 | 5000
1.7 | Construction of gully/river crossing | No | 0 | 0 | 0
| Total carried to summary (1)…................................... |  |  |  | 1941503.4
2 | SQFlex pump, pipe laying and fitting Supply and Installation
2.01 | Installation of Grundfos - SP to BH depth with having SWL=40m, DWL=60m, Pump position = 65m, depth = 110m and yield = 3.3 L/sec with all its accessories | pcs | 1 | 12000 | 12000
2.02 | Supply of class c GS rising pipe each having 3m length with approved quality coupling connectors | Ls | 1 | 10000 | 10000
2.03 | Class B GS pipe with 2'' diameter | m | 60 | 10000 | 600000
2.04 | HDPE pipe with OD 63 PN 10 with each roll having length of 200m and cost including all necessary connectors (couplings) | m | 1355 | 725 | 982375
2.05 | HDPE pipe with OD 50 PN 10 with each roll having length of 200m and cost including all necessary connectors(couplings) | m | 400 | 553 | 221200
3 | Fitting for transmission and distribution line |  |  |  | 0
3.01 | 2'' braced coupling | pcs | 1 | 625 | 625
3.02 | 2'' saddle clamping | pcs | 4 | 625 | 2500
3.03 | 2'' internal treaded flange 2'' | pcs | 5 | 625 | 3125
3.04 | 2'' flanged 90 degree elbow | Pcs | 9 | 625 | 5625
3.05 | 2'' flanged water meter | pcs | 1 | 625 | 625
3.06 | 50mm flanged air release valve | pcs | 1 | 625 | 625
3.07 | 2'' Check valve | pcs | 1 | 625 | 625
3.08 | 2'' flanged gate valve | pcs | 6 | 625 | 3750
3.09 | 10m bar pressure gauge | pcs | 1 | 625 | 625
3.1 | 2'' Internal treaded flange | pcs | 2 | 625 | 1250
3.11 | High compression HDPE Tee (OD-75) | pcs | 5 | 625 | 3125
3.12 | High compression HDPE Female adaptor OD 50 PN 10 | pcs | 5 | 625 | 3125
3.13 | High compression HDPE Female adaptor OD 75 PN 10 | pcs | 20 | 625 | 12500
3.14 | CI/GI Male reducer DN 63X40 PN 10 | pcs | 5 | 625 | 3125
3.15 | Internally tradded bronze gate valve DN 40 PN 10 | pcs | 5 | 625 | 3125
3.16 | DN 40 PN 10 Nipples | pcs | 10 | 625 | 6250
3.17 | DN 63 PN 10 Nipples | pcs | 10 | 625 | 6250
3.19 | HDPE Treaded clean out with plugs | pcs | 5 | 625 | 3125
| Total carried to summary(2)…................................... |  |  |  | 1885575
| Sub Total (1)+(2) |  |  |  | 3827078.4
VAT (15%) |  |  |  |  | 574061.76
Sub-Total |  |  |  |  | 4401140.16

## Summary-1.2
2) Lot-1: Hydraulic Works One-Camp
Summary of Okuna Pino Kebele SPWPS Water Supply Project
Bill No | Description | Amount (Birr)
1 | General Item | 0
2 | Construction of Trans(PMP) Main from BH-Tegni to Elevated Service Reservior and Construction of distribution line from Service Reservior to service points | 0
3 | Construction of four faucets water points | 0
| Grand Total | 0

## 1.2.1-General Item Block
A. Specification and Bill of Quantity (BoQ) for General Work
ITEM | DESCRIPTION | UNIT | QTY | UNIT RATE (Birr) | AMOUNT (Birr)
1 | General item
1.1 | Mobilization of plant, equipment and personnel to the site of the work | Ls | 1 | 0 | 0
1.2 | Demobilization of plant, equipment and personnel from the site. | Ls | 1 | 0 | 0
1.3 | The Contractor shall establish offices, catering and other facilities for personel Services | Ls | 1 | 0 | 0 | 250000 | Not necessary
1.4 | Provide, maintain and keep in a clean condition adequate temporary sanitary accommodation and facilities in accordance with local regulations for all persons employed on the Works | LS | 1 | 0 | 0
1.5 | Provision of surveying equipment with surveying team. The equipment to be used shall be appropriate to the work and as per the instruction of the Engineer and Provide survey control and setting out work for constrruction. | LS | 1 | 0 | 0
1.6 | Provide operation and maintenance data manuals for each item of works | LS | 1 | 0 | 0
1.7 | Test for Concrete and related construction materials | LS | 1 | 0 | 0
1.8 | Provide As-built drawings as specified | Set 3 | 1 | 0 | 0
Sub Total for General Item |  |  |  |  | 0
VAT (15%) |  |  |  |  | 0
Sub-Total |  |  |  |  | 0

## 1.2.2-Pipe line construction
Project Name : Camp WSP
Bill No. 1 For Supply,Transportation and Installation of pipe and its necessary Fittings Camp RPS
Item No. | Item Description | Unit | Quantity | Unit Price | Amount
1 | Earth Work
1.1 | Site Clearing, along Pipe route to a max width of 2m of all bushes and trees including grubbing of roots of stumps and removing from site | m2 | 1617 | 0 | 0
1.2 | Excavation for trench in ordinary soil 1 m deep & 0.8m width for installation of pipe, including disposal of surplus excavated material | M3 | 646.8 | 0 | 0
1.3 | Excavation for soft rock formation | M3 | 8.4 | 0 | 0
1.5 | Backfilling and compacting the trench initially native selective material to the thickness not less than 15cm around the pipe and with heap above the original ground level with selected native soil | M3 | 808.5 | 0 | 0
| Total carried to summary (4)…................................... |  |  |  | 0
2 | Supply of Pipes and fittings
2.1 | Supply and Laying of HDPE pipe PN 10(for Distribution Main)
2.1.1 | Supply HDPE Pipe with PN 10 and in 100m length each
2.1.1.1 | OD 50mm, PN10 | m | 798 | 0 | 0
| Total carried to summary (4)…................................... |  |  |  | 0
2.1.2 | Supply and Installation of Riquired Fitting
2.1.2.1 | HDPE Compression Equal Tee OD 50X50X50 PN10 | Pcs | 4 | 0 | 0
2.1.2.2 | HDPE Male Adoptor OD 50 PN 10 | Pcs | 16 | 0 | 0
2.1.2.3 | Internal Traded Gate valve DN 40 PN 10 | Pcs | 8 | 0 | 0
| Total carried to summary (4)…................................... |  |  |  | 0
2.2 | Supply of Galvanized Iron pipe and its fittings For Transmission line
2.2.1 | Class B Galvanized Iron pipe DN 50 | m | 22 | 0 | 0
2.2.2 | Supply and installation of fitting for pressure line |  |  | 0
2.2.2.1 | Internal Traded Flange DN 50 | Pcs | 3 | 0 | 0
2.2.2.2 | Double Flanged GS pipe DN 50 and Length 1m | Pcs | 2 | 0 | 0
2.2.2.3 | Double Flanged GS pipe DN 50 and Length 2m | Pcs | 1 | 0 | 0
2.2.2.4 | 90 Degree CI flanged Elbow PN 10 DN 50 | Pcs | 3 | 0 | 0
2.2.2.5 | single orfice Air release valve DN 50 PN 10 | Pcs | 1 | 0 | 0
2.2.2.6 | Flanged Check Valve DN 50 PN 10 | Pcs | 1 | 0 | 0
2.2.2.7 | Flanged Water meter DN 50 PN 10 | Pcs | 1 | 0 | 0
2.2.2.7 | Flanged Gate Valve DN 50 PN 10 | Pcs | 1 | 0 | 0
3 | Construction of concrete Anchor block as per the drawing | Pcs | 2 | 0 | 0
4 | Construction of Masonry Valve chamber having thickness of 40cm and internal dimension of 1mx1mx0.75m and sheet metal cover fixed on angle iron frame with all locking apparatus | No | 4 | 0 | 0
5 | All Pipeline pressure testing for specified pressure as in specification and commissioning for the whole work, including all necessary works such as transportation and use of water, pipe fittings, disposing of used water | m | 808.5 | 0 | 0
6 | Disinfection of all Pipe lines: flushing with clear water, filling with water containing 0.15 g/l calcium hypochloride, left for 24 hours. This includes supply of all necessary equipment, chemical and water | m | 808.5 | 0 | 0
| Total carried to summary (4)…................................... |  |  |  | 0
| Sub Total (1)+(2)+(3)+(4) |  |  |  | 0
| VAT 15% |  |  |  | 0
| Sub Total for Water Points |  |  |  | 0

## 1.2.3-Water Point
F. Specification and Bill of Quantity (BoQ) for water points with four fuacet
Item No. | Description | Unit | Quantity | Unit Price | Total Price
1 | Earth work
1.1 | Clearing and striping of top soil to a minimum depth of 200 mm | m2 | 24.2 | 0 | 0
1.2 | Bulk excavation for up to a depth of 50 cm below site clearing for foundation | m3 | 6.8 | 0 | 0
1.3 | Excavation for foundation, soak away pit and valve chamber | m3 | 5.4 | 0 | 0
1.4 | Fill and compact selected material in layers of 150mm, for foundation | m3 | 0.27 | 0 | 0
1.5 | Fill 20 cm thick hard core with hard basaltic or equivalent stone, well compacted and blinded with crushed stone , | m2 | 10.24 | 0 | 0
1.6 | Cart away and dispose all excavated material to appropriate distance | m3 | 17.04 | 0 | 0
| Total carried to summary…............................... |  |  |  | 0
2 | Concrete Work
2.1 | C-5 lean concrete | m2 | 0.65 | 0 | 0
2.2 | C-20 concrete mass concrete | m2 | 3.16 | 0 | 0
2.3 | C-25 Concrete cylinder (Dia 1m and hight 1m) | m3 | 1 | 0 | 0
2.4 | C-25 Concrete cylinder (Dia 30cm and hight 1m) | m3 | 0.07065 | 0 | 0
| Total carried to summary…............................... |  |  |  | 0
3 | Masonery and Plastering Work
3.1 | Construct 400mm thick trychytic masonry wall circular grouted and filled with (1:3) mortar for foundation and super structure | m3 | 3 | 0 | 0
3.2 | Plastering to smooth finish for waterpoint wall and surface | m2 | 15 | 0 | 0
3.3 | Concrete pavement around the water point as per the drawing (200 mm thick with 1:3 mortar) | m2 | 7.6 | 0 | 0
| Total carried to summary…............................... |  |  |  | 0
4 | Pipework |  |  |  | 0
4.1 | Install GI pipes |  |  |  | 0
4.1.1 | GI pipe 1.5'' | ml | 6 | 0 | 0
4.1.2 | GI Pipe 3/4'' | ml | 6 | 0 | 0
4.2 | Fix fittings |  |  | 0 | 0
4.2.1 | Cross tee 1.5'' | Pcs | 1 | 0 | 0
4.2.2 | Reducer 1.5''-3/4'' | Pcs | 4 | 0 | 0
4.2.3 | Tee 1.5'' | Pcs | 1 | 0 | 0
4.2.4 | 1.5'' Bend (elbow) 90 degree | Pcs | 5 | 0 | 0
4.2.5 | Faucet 3/4'' | Pcs | 4 | 0 | 0
4.2.6 | Socket 3/4'' | Pcs | 4 | 0 | 0
4.2.7 | Gate valve 1.5'' | Pcs | 2 | 0 | 0
4.2.8 | Union 1.5'' (variable) | Pcs | 1 | 0 | 0
4.2.9 | Nipples 1.5'' | Pcs | 6 | 0 | 0
4.2.10 | Female daptor OD 50mm | Pcs | 1 | 0 | 0
| Total carried to summary…............................... |  |  |  | 0
5 | Finishing Work |  |  |  | 0
5.1 | Construct two valve chambers for water meter and gate valve , cover with concrete slab as per the drawing | No. | 2 | 0 | 0
5.2 | Place boulders, crashed agregate and sand to form the soak away as per the drawing | m3 | 0.32 | 0 | 0
5.3 | Construct barbed wire fencing fixed to 2 m long angle iron poles spaced every 1.25 m and breaced barbed wire horizeontally 20 cm spacing and diagonally including fixing of RHS metal door and incidental works as per the drawing | ml | 25 | 0 | 0
| Total carried to summary…............................... |  |  |  | 0
| Total (1+2+3+4+5)for one water points |  |  |  | 0
| Total for five water points |  |  |  | 0
| VAT 15% |  |  |  | 0
| Sub Total for Water Points |  |  |  | 0

## Summary-1.3
3) Lot-1: Hydraulic Works One-Elbaro
Summary of Camp Elbaro SPWPS Water Supply Project
Bill No | Description | Amount (Birr)
1 | General Item | 0
2 | Construction of Trans(PMP) Main from BH-Tegni to Elevated Service Reservior and Construction of distribution line from Service Reservior to service points | 0
3 | Construction of four faucets water points | 0
| Grand Total | 0

## 1.3.1.General item
A. Specification and Bill of Quantity (BoQ) for General Work
ITEM | DESCRIPTION | UNIT | QTY | UNIT RATE (Birr) | AMOUNT (Birr)
1 | General item
1.1 | Mobilization of plant, equipment and personnel to the site of the work | Ls | 1 | 0 | 0
1.2 | Demobilization of plant, equipment and personnel from the site. | Ls | 1 | 0 | 0
1.3 | The Contractor shall establish offices, catering and other facilities for personel Services | Ls | 1 | 0 | 0
1.4 | Provide, maintain and keep in a clean condition adequate temporary sanitary accommodation and facilities in accordance with local regulations for all persons employed on the Works | LS | 1 | 0 | 0
1.5 | Provision of surveying equipment with surveying team. The equipment to be used shall be appropriate to the work and as per the instruction of the Engineer and Provide survey control and setting out work for constrruction. | LS | 1 | 0 | 0
1.6 | Provide operation and maintenance data manuals for each item of works | LS | 1 | 0 | 0
1.7 | Test for Concrete and related construction materials | LS | 1 | 0 | 0
1.8 | Provide As-built drawings as specified | Set 3 | 1 | 0 | 0
Sub Total for General Item |  |  |  |  | 0
VAT (15%) |  |  |  |  | 0
Sub-Total |  |  |  |  | 0

## 1.3.2. Pipe line construction
Project Name : Elbaro WSP
Bill No. 1 For Supply,Transportation and Installation of pipe and its necessary Fittings Elbaro RPS
Item No. | Item Description | Unit | Quantity | Unit Price | Amount
1 | Earth Work
1.1 | Site Clearing, along Pipe route to a max width of 2m of all bushes and trees including grubbing of roots of stumps and removing from site | m2 | 2639.7 | 0 | 0
1.2 | Excavation for trench in ordinary soil 1 m deep & 0.8m width for installation of pipe, including disposal of surplus excavated material | M3 | 1055.88 | 0 | 0
1.3 | Excavation for soft rock formation | M3 | 8.4 | 0 | 0
1.5 | Backfilling and compacting the trench initially native selective material to the thickness not less than 15cm around the pipe and with heap above the original ground level with selected native soil | M3 | 1319.85 | 0 | 0
| Total carried to summary(1)…................................... |  |  |  | 0
2 | Supply of Pipes and fittings
2.1 | Supply and Laying of HDPE pipe PN 10(for Distribution Main)
2.1.1 | Supply HDPE Pipe with PN 10 and in 100m length each
2.1.1.1 | OD 50mm, PN10 | m | 593.25 | 0 | 0
2.1.1.2 | OD 63 PN 10 | m | 716.1 | 0 | 0
| Total carried to summary(2)…................................... |  |  |  | 0
2.1.2 | Supply and Installation of Riquired Fitting |  |  |  | 0
2.1.2.1 | HDPE Compression reducingTee OD 63X50X63 PN10 | Pcs | 3 | 0
2.1.2.2 | HDPE Compression Equal Tee OD 50X50X50 PN10 | Pcs | 1 | 0 | 0
2.1.2.3 | HDPE Male Adoptor OD 50 PN 10 | Pcs | 10 | 0 | 0
2.1.2.4 | HDPE Male Adoptor OD 63 PN 10 | Pcs | 6 | 0 | 0
2.1.2.5 | Internal Traded Gate valve DN 40 PN 10 | Pcs | 5 | 0 | 0
2.1.2.6 | Internal Traded Gate valve DN 50 PN 10 | Pcs | 3 | 0 | 0
2.1.2.7 | HDPE Reducer OD 63X50 with End coupling | Pcs | 3 | 0 | 0
| Total carried to summary(3)…................................... |  |  |  | 0
2.2 | Supply of Galvanized Iron pipe and its fittings For Transmission line
2.2.1 | Class B Galvanized Iron pipe DN 50 | m | 22 | 0 | 0
2.2.2 | Supply and installation of fitting for pressure line |  |  | 0
2.2.2.1 | Internal Traded Flange DN 50 | Pcs | 3 | 0 | 0
2.2.2.2 | Double Flanged GS pipe DN 50 and Length 1m | Pcs | 2 | 0 | 0
2.2.2.3 | Double Flanged GS pipe DN 50 and Length 2m | Pcs | 1 | 0 | 0
2.2.2.4 | 90 Degree CI flanged Elbow PN 10 DN 50 | Pcs | 3 | 0 | 0
2.2.2.5 | single orfice Air release valve DN 50 PN 10 | Pcs | 1 | 0 | 0
2.2.2.6 | Flanged Check Valve DN 50 PN 10 | Pcs | 1 | 0 | 0
2.2.2.7 | Flanged Water meter DN 50 PN 10 | Pcs | 1 | 0 | 0
2.2.2.7 | Flanged Gate Valve DN 50 PN 10 | Pcs | 1 | 0 | 0
3 | Construction of concrete Anchor block as per the drawing | Pcs | 2 | 0 | 0
4 | Construction of Masonry Valve chamber having thickness of 40cm and internal dimension of 1mx1mx0.75m and sheet metal cover fixed on angle iron frame with all locking apparatus | No | 3 | 0 | 0
5 | All Pipeline pressure testing for specified pressure as in specification and commissioning for the whole work, including all necessary works such as transportation and use of water, pipe fittings, disposing of used water | m | 1319.85 | 0 | 0
6 | Disinfection of all Pipe lines: flushing with clear water, filling with water containing 0.15 g/l calcium hypochloride, left for 24 hours. This includes supply of all necessary equipment, chemical and water | m | 1319.85 | 0 | 0
| Total carried to summary(4)…................................... |  |  |  | 0
| Sub Total (1)+(2)+(3)+(4) |  |  |  | 0
VAT (15%) |  |  |  |  | 0
Sub-Total |  |  |  |  | 0

## 1.3.3.Water PointP
F. Specification and Bill of Quantity (BoQ) for water points with four fuacet
Item No. | Description | Unit | Quantity | Unit Price | Total Price
1 | Earth work
1.1 | Clearing and striping of top soil to a minimum depth of 200 mm | m2 | 24.2 | 0 | 0
1.2 | Bulk excavation for up to a depth of 50 cm below site clearing for foundation | m3 | 6.8 | 0 | 0
1.3 | Excavation for foundation, soak away pit and valve chamber | m3 | 5.4 | 0 | 0
1.4 | Fill and compact selected material in layers of 150mm, for foundation | m3 | 0.27 | 0 | 0
1.5 | Fill 20 cm thick hard core with hard basaltic or equivalent stone, well compacted and blinded with crushed stone , | m2 | 10.24 | 0 | 0
1.6 | Cart away and dispose all excavated material to appropriate distance | m3 | 17.04 | 0 | 0
| Total carried to summary…............................... |  |  |  | 0
2 | Concrete Work
2.1 | C-5 lean concrete | m2 | 0.65 | 0 | 0 | C-5 is enough
2.2 | C-20 concrete mass concrete | m2 | 3.16 | 0 | 0
2.3 | C-25 Concrete cylinder (Dia 1m and hight 1m) | m3 | 1 | 0 | 0
2.4 | C-25 Concrete cylinder (Dia 30cm and hight 1m) | m3 | 0.07065 | 0 | 0
| Total carried to summary…............................... |  |  |  | 0
3 | Masonery and Plastering Work
3.1 | Construct 400mm thick trychytic masonry wall circular grouted and filled with (1:3) mortar for foundation and super structure | m3 | 3 | 0 | 0
3.2 | Plastering to smooth finish for waterpoint wall and surface | m2 | 15 | 0 | 0
3.3 | Concrete pavement around the water point as per the drawing (200 mm thick with 1:3 mortar) | m2 | 7.6 | 0 | 0
| Total carried to summary…............................... |  |  |  | 0
4 | Pipework |  |  |  | 0
4.1 | Install GI pipes |  |  |  | 0
4.1.1 | GI pipe 1.5'' | ml | 6 | 0 | 0
4.1.2 | GI Pipe 3/4'' | ml | 6 | 0 | 0
4.2 | Fix fittings |  |  | 0 | 0
4.2.1 | Cross tee 1.5'' | Pcs | 1 | 0 | 0
4.2.2 | Reducer 1.5''-3/4'' | Pcs | 4 | 0 | 0
4.2.3 | Tee 1.5'' | Pcs | 1 | 0 | 0
4.2.4 | 1.5'' Bend (elbow) 90 degree | Pcs | 5 | 0 | 0
4.2.5 | Faucet 3/4'' | Pcs | 4 | 0 | 0
4.2.6 | Socket 3/4'' | Pcs | 4 | 0 | 0
4.2.7 | Gate valve 1.5'' | Pcs | 2 | 0 | 0
4.2.8 | Union 1.5'' (variable) | Pcs | 1 | 0 | 0
4.2.9 | Nipples 1.5'' | Pcs | 6 | 0 | 0
4.2.10 | Female daptor OD 50mm | Pcs | 1 | 0 | 0
| Total carried to summary…............................... |  |  |  | 0
5 | Finishing Work |  |  |  | 0
5.1 | Construct two valve chambers for water meter and gate valve , cover with concrete slab as per the drawing | No. | 2 | 0 | 0
5.2 | Place boulders, crashed agregate and sand to form the soak away as per the drawing | m3 | 0.32 | 0 | 0
5.3 | Construct barbed wire fencing fixed to 2 m long angle iron poles spaced every 1.25 m and breaced barbed wire horizeontally 20 cm spacing and diagonally including fixing of RHS metal door and incidental works as per the drawing | ml | 25 | 0 | 0
| Total carried to summary…............................... |  |  |  | 0
| Total (1+2+3+4+5)for one water points |  |  |  | 0
| Total for six water points |  |  |  | 0
| VAT 15% |  |  |  | 0
| Sub Total for Water Points |  |  |  | 0

## Summary-1.4
4) Lot-1: Hydraulic Works One-Alela
Summary of Okuna Pino Kebele SPWPS Water Supply Project
Bill No | Description | Amount (Birr)
1 | General Item | 0
2 | Construction of Trans (PMP) Main from BH-Tegni to Elevated Service Reservior and Construction of distribution line from Service Reservior to service points | 0
3 | Construction of four faucets water points | 0
| Grand Total | 0

## 1.4.1-General Item Block
A. Specification and Bill of Quantity (BoQ) for General Work
ITEM | DESCRIPTION | UNIT | QTY | UNIT RATE (Birr) | AMOUNT (Birr)
1 | General item
1.1 | Mobilization of plant, equipment and personnel to the site of the work | Ls | 1 | 0 | 0
1.2 | Demobilization of plant, equipment and personnel from the site. | Ls | 1 | 0 | 0
1.3 | The Contractor shall establish offices, catering and other facilities for personel Services | Ls | 1 | 0 | 0 | 250000 | Not necessary
1.4 | Provide, maintain and keep in a clean condition adequate temporary sanitary accommodation and facilities in accordance with local regulations for all persons employed on the Works | LS | 1 | 0 | 0
1.5 | Provision of surveying equipment with surveying team. The equipment to be used shall be appropriate to the work and as per the instruction of the Engineer and Provide survey control and setting out work for constrruction. | LS | 1 | 0 | 0
1.6 | Provide operation and maintenance data manuals for each item of works | LS | 1 | 0 | 0
1.7 | Test for Concrete and related construction materials | LS | 1 | 0 | 0
1.8 | Provide As-built drawings as specified | Set 3 | 1 | 0 | 0
Sub Total for General Item |  |  |  |  | 0
VAT (15%) |  |  |  |  | 0
Sub-Total |  |  |  |  | 0

## 1.4.2-Pipe line construction
Project Name : Pino WSP
Bill No. 1 For Supply,Transportation and Installation of pipe and its necessary Fittings Pino RPS
Item No. | Item Description | Unit | Quantity | Unit Price | Amount
1 | Earth Work
1.1 | Site Clearing, along Pipe route to a max width of 2m of all bushes and trees including grubbing of roots of stumps and removing from site | m2 | 5058.9 | 0 | 0
1.2 | Excavation for trench in ordinary soil 1 m deep & 0.8m width for installation of pipe, including disposal of surplus excavated material | M3 | 1992.48 | 0 | 0
1.3 | Excavation for soft rock formation | M3 | 31.08 | 0 | 0
1.5 | Backfilling and compacting the trench initially native selective material to the thickness not less than 15cm around the pipe and with heap above the original ground level with selected native soil | M3 | 2529.45 | 0 | 0
| Total carried to summary(1)…................................... |  |  |  | 0
2 | Supply of Pipes and fittings
2.1 | Supply and Laying of HDPE pipe PN 10(for Distribution Main)
2.1.1 | Supply HDPE Pipe with PN 10 and in 100m length each
2.1.1.1 | OD 50mm, PN10 | m | 2506.35 | 0 | 0
| Total carried to summary(2)…................................... |  |  |  | 0
2.1.2 | Supply and Installation of Riquired Fitting
2.1.2.1 | HDPE Compression Equal Tee OD 50X50X50 PN10 | Pcs | 4 | 0 | 0
2.1.2.2 | HDPE Male Adoptor OD 50 PN 10 | Pcs | 16 | 0 | 0
2.1.2.3 | Internal Traded Gate valve DN 40 PN 10 | Pcs | 8 | 0 | 0
| Total carried to summary(3)…................................... |  |  |  | 0
2.2 | Supply of Galvanized Iron pipe and its fittings For Transmission line
2.2.1 | Class B Galvanized Iron pipe DN 50 | m | 22 | 0 | 0
2.2.2 | Supply and installation of fitting for pressure line |  |  | 0
2.2.2.1 | Internal Traded Flange DN 50 | Pcs | 3 | 0 | 0
2.2.2.2 | Double Flanged GS pipe DN 50 and Length 1m | Pcs | 2 | 0 | 0
2.2.2.3 | Double Flanged GS pipe DN 50 and Length 2m | Pcs | 1 | 0 | 0
2.2.2.4 | 90 Degree CI flanged Elbow PN 10 DN 50 | Pcs | 3 | 0 | 0
2.2.2.5 | single orfice Air release valve DN 50 PN 10 | Pcs | 1 | 0 | 0
2.2.2.6 | Flanged Check Valve DN 50 PN 10 | Pcs | 1 | 0 | 0
2.2.2.7 | Flanged Water meter DN 50 PN 10 | Pcs | 1 | 0 | 0
2.2.2.7 | Flanged Gate Valve DN 50 PN 10 | Pcs | 1 | 0 | 0
3 | Construction of concrete Anchor block as per the drawing | Pcs | 2 | 0 | 0
4 | Construction of Masonry Valve chamber having thickness of 40cm and internal dimension of 1mx1mx0.75m and sheet metal cover fixed on angle iron frame with all locking apparatus | No | 4 | 0 | 0
5 | All Pipeline pressure testing for specified pressure as in specification and commissioning for the whole work, including all necessary works such as transportation and use of water, pipe fittings, disposing of used water | m | 2529.45 | 0 | 0
6 | Disinfection of all Pipe lines: flushing with clear water, filling with water containing 0.15 g/l calcium hypochloride, left for 24 hours. This includes supply of all necessary equipment, chemical and water | m | 2529.45 | 0 | 0
| Total carried to summary(4)…................................... |  |  |  | 0
| Sub Total (1)+(2)+(3)+(4) |  |  |  | 0
VAT (15%) |  |  |  |  | 0
Sub-Total |  |  |  |  | 0

## 1.4.3. Water Point
F. Specification and Bill of Quantity (BoQ) for water points with four fuacet
Item No. | Description | Unit | Amount | Unit Price | Total Price
1 | Earth work
1.1 | Clearing and striping of top soil to a minimum depth of 200 mm | m2 | 24.2 | 0 | 0
1.2 | Bulk excavation for up to a depth of 50 cm below site clearing for foundation | m3 | 6.8 | 0 | 0
1.3 | Excavation for foundation, soak away pit and valve chamber | m3 | 5.4 | 0 | 0
1.4 | Fill and compact selected material in layers of 150mm, for foundation | m3 | 0.27 | 0 | 0
1.5 | Fill 20 cm thick hard core with hard basaltic or equivalent stone, well compacted and blinded with crushed stone , | m2 | 10.24 | 0 | 0
1.6 | Cart away and dispose all excavated material to appropriate distance | m3 | 17.04 | 0 | 0
| Total carried to summary…............................... |  |  |  | 0
2 | Concrete Work
2.1 | C-5 lean concrete | m2 | 0.65 | 0 | 0
2.2 | C-20 concrete mass concrete | m2 | 3.16 | 0 | 0
2.3 | C-25 Concrete cylinder (Dia 1m and hight 1m) | m3 | 1 | 0 | 0
2.4 | C-25 Concrete cylinder (Dia 30cm and hight 1m) | m3 | 0.07065 | 0 | 0
| Total carried to summary…............................... |  |  |  | 0
3 | Masonery and Plastering Work
3.1 | Construct 400mm thick trychytic masonry wall circular grouted and filled with (1:3) mortar for foundation and super structure | m3 | 3 | 0 | 0
3.2 | Plastering to smooth finish for waterpoint wall and surface | m2 | 15 | 0 | 0
3.3 | Concrete pavement around the water point as per the drawing (200 mm thick with 1:3 mortar) | m2 | 7.6 | 0 | 0
| Total carried to summary…............................... |  |  |  | 0
4 | Pipework |  |  |  | 0
4.1 | Install GI pipes |  |  |  | 0
4.1.1 | GI pipe 1.5'' | ml | 6 | 0 | 0
4.1.2 | GI Pipe 3/4'' | ml | 6 | 0 | 0
4.2 | Fix fittings |  |  | 0 | 0
4.2.1 | Cross tee 1.5'' | Pcs | 1 | 0 | 0
4.2.2 | Reducer 1.5''-3/4'' | Pcs | 4 | 0 | 0
4.2.3 | Tee 1.5'' | Pcs | 1 | 0 | 0
4.2.4 | 1.5'' Bend (elbow) 90 degree | Pcs | 5 | 0 | 0
4.2.5 | Faucet 3/4'' | Pcs | 4 | 0 | 0
4.2.6 | Socket 3/4'' | Pcs | 4 | 0 | 0
4.2.7 | Gate valve 1.5'' | Pcs | 2 | 0 | 0
4.2.8 | Union 1.5'' (variable) | Pcs | 1 | 0 | 0
4.2.9 | Nipples 1.5'' | Pcs | 6 | 0 | 0
4.2.10 | Female daptor OD 50mm | Pcs | 1 | 0 | 0
| Total carried to summary…............................... |  |  |  | 0
5 | Finishing Work |  |  |  | 0
5.1 | Construct two valve chambers for water meter and gate valve , cover with concrete slab as per the drawing | No. | 2 | 0 | 0
5.2 | Place boulders, crashed agregate and sand to form the soak away as per the drawing | m3 | 0.32 | 0 | 0
5.3 | Construct barbed wire fencing fixed to 2 m long angle iron poles spaced every 1.25 m and breaced barbed wire horizeontally 20 cm spacing and diagonally including fixing of RHS metal door and incidental works as per the drawing | ml | 25 | 0 | 0
| Total carried to summary…............................... |  |  |  | 0
| Total (1+2+3+4+5)for one water points |  |  |  | 0
| Total for five water points |  |  |  | 0
| VAT 15% |  |  |  | 0
| Sub Total for Water Points |  |  |  | 0